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	Main Stair 201
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	Plan: Lighting 
Sheet No.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
201 
Main Stair 

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: B4-660/80                            
Color :French gold          

	PRODUCT
BADARI LIGHTING 
	QTY
1  Pieces
	POWER
80x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 2000 mm * H 2500 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
201 

Main Stair

	DESIGNATION/TYPE:
A 

Sconce
	SUPPLIER

	MODEL /ART
Model:         

Art.: A8-38/3                    
Color : French gold            

	PRODUCT
BADARI LIGHTING
	QTY
4 Pieces
	POWER
3x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 450 mm * H 700 mm * SP 260 mm                          
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
201 

Main Stair

	DESIGNATION/TYPE:
S
Suspended Lamp
	SUPPLIER

	MODEL /ART
Model
Art.: B5-485/5            
Color :French gold            

	PRODUCT
BADARI LIGHTING
	QTY
4 Pieces
	POWER
5x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 370 mm * H 800 mm                           
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	Hall 202
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
202 

Hall

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model:RENAISSANCE                  

Art.: 3774                      
Color          

	PRODUCT
SCHONBEK
	QTY
1 Pieces
	POWER
24x40W E12

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1140 mm * H 1320 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
202 

Hall

	DESIGNATION/TYPE:
A 

Sconce
	SUPPLIER

	MODEL /ART
Model:RENAISSANCE                  

Art.: 3763                     
Color          

	PRODUCT
SCHONBEK
	QTY
4 Pieces
	POWER
5x40W E12

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 430 mm * H 710 mm * SP 250 mm                          
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
202 

Hall

	DESIGNATION/TYPE:
R
Spots

	SUPPLIER

	MODEL /ART
Model
Art.: DL7801                       
Color          

	PRODUCT
POSSONI
	QTY
12 Pieces
	POWER
1x50W max GU10

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
201, 202, 210 Stair, Hall, Living Room 

	DESIGNATION/TYPE:
RW
Up Lighter
	SUPPLIER 
	MODEL /ART
Model:DORDI                        

Art.:  ls 93928 W 15

Color         

	PRODUCT 
I-LED PROFESSIONAL


	QTY
26 Pieces

	POWER
1x LED 630mA 2W

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 70 mm * H 139 mm 
[image: image9.png]




	Gallery 204 / 206

[image: image10.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
204

Gallery 

	DESIGNATION/TYPE:
S
Suspended
Lamp
	SUPPLIER

	MODEL /ART
Model
Art.: 11.1657                     
Color: distressed gold 

	PRODUCT
BANCI
	QTY
6 Pieces
	POWER
4x60W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 350x350 mm * H 720 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
206
Gallery 

	DESIGNATION/TYPE:
S
Suspended
Lamp
	SUPPLIER

	MODEL /ART
Model
Art.: 11.1657                     
Color: distressed gold 

	PRODUCT
BANCI
	QTY
6 Pieces
	POWER
4x60W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 350x350 mm * H 720 mm                           
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	Stair 205
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
205
Stair  Hall


	DESIGNATION/TYPE:
A

Sconce
	SUPPLIER 
	MODEL /ART
Model: JUBILEE                       

Art.:  2673

Color         

	PRODUCT 
SCHONBEK
	КОЛ-ВО:
3 Pieces

	POWER
4x40W max E12 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 280  mm * H 380  mm 
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	Music Room207
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
207

Music Room


	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model:SOFFIO                  

Art.: 1380/16+8                     
ColorK CR.CR           

	PRODUCT
SYLCOM
	QTY
1 Pieces
	POWER
24x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1380 mm * H 1460 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
207

Music Room


	DESIGNATION/TYPE:
А
Sconce
	SUPPLIER

	MODEL /ART
Model:SOFFIO                  

Art.: 1380/A2                     
ColorK CR.CR          

	PRODUCT
SYLCOM
	QTY
2 Pieces
	POWER
2x40W E14

	 NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 460 mm * H 510 mm * SP 280 mm                          
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
207

Music Room


	DESIGNATION/TYPE:
R
Built In Lamp 
	SUPPLIER

	MODEL /ART
Model:              
Art.: art. 3000/FI                     
Color         

	PRODUCT
ITALAMP
	QTY
16 Pieces
	POWER
1x40W E14

	 NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 150 mm * H 30+100 mm                        
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	Study Room209
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
209

Study Room
класс

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model:VERONA                   

Art.: NO. 710340                     
Color         

	PRODUCT
FINE ART LAMPS
	QTY
1 Pieces
	POWER
12x60W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 910 mm * H 1090 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
209

Study Room
класс

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model      

Art.:  3880/1

Color  D-08   

	PRODUCT 
MARTINEZ Y ORTS
	QTY
18 Pieces

	POWER
1x50W GU 5.3

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 142 mm * H 20 mm 
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	Family Living Room210
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
210

Семейная 

Living Room

	DESIGNATION/TYPE:
S
Chandelier 
	SUPPLIER

	MODEL /ART
Model:                

Art.: B4-57/45                     
Color: Silver painted          

	PRODUCT
BADARI LIGHTING
	QTY
1 Pieces
	POWER
45x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 2000 mm * H 3000 + mm                
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
210

Семейная 

Living Room

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: B4-57/15                     
Color : Silver painted            

	PRODUCT
BADARI LIGHTING
	QTY
2 Pieces
	POWER
15x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 960 mm * H 1280 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
210

Семейная 

Living Room

	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: A8-55/3BOHEM                      
Color: Silver painted          

	PRODUCT
BADARI LIGHTING
	QTY
6 Pieces
	POWER
3x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 470 mm * H 640 mm * SP 240 mm                          
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
210

Семейная 

Living Room

	DESIGNATION/TYPE:
R
Built In Lamp 
	SUPPLIER

	MODEL /ART
Model:              
Art.: art. 3000/FI                     
Color         

	PRODUCT
ITALAMP
	QTY
32 Pieces
	POWER
1x40W E14

	 NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 150 mm * H 30+100 mm                        
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
211

Stair  Hall
с лифтом

	DESIGNATION/TYPE:
Р

Потолочный Lamp
	SUPPLIER 
	MODEL /ART
Model      

Art.:  8297/40M
Color         

	PRODUCT 
MARTINEZ Y ORTS


	QTY
1 Pieces

	POWER
 2x60 W

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 380 mm * H 150 mm 
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
211

Stair  Hall
с лифтом 

	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: 7282/2                       
Color          

	PRODUCT
MARTINEZ Y ORTS
	QTY
6 Pieces
	POWER
2x40W

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 230 mm * H 240 mm * SP 120 mm                         
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	Bedroom212

[image: image29.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
212

Bedroom

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: 19971                     
Color finish: CR Chrome          

	PRODUCT
MARINER
	QTY
1 Pieces
	POWER
12+6xE14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1180 mm * H 1200 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
212

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

Color: Verde rame        

	PRODUCT 
LAUDARTE
	QTY
12 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
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	Dressing 214
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
214
Гардероб

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

Color: Verde rame        

	PRODUCT 
LAUDARTE
	QTY
8 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
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	Bathroom215
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
215 
W/C


	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:               

Art.: 159/8          
Color         

	PRODUCT
ITALAMP
	QTY
1 Pieces
	POWER
8x28W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 700  mm * H 670 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
215 
W/C


	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: 159/Ap2                  
Color          

	PRODUCT
ITALAMP
	QTY
2 Pieces
	POWER
2x28W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 360 mm * H 430 mm * SP 250 mm                        
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
215 
W/C


	DESIGNATION/TYPE:
R 
Built In Lamp
	SUPPLIER

	MODEL /ART
Model:TRIMLESS                        

Art.: 5624   

Color                            

	PRODUCT
ASTRO
	QTY
11 Pieces

	POWER 

1x50W max GU10

	NOTES/ NOTES       
IP65  
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 75  mm * H 115  mm                           
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	Dressing 216
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
216

Dressing


	DESIGNATION/TYPE:
R
Spots
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
6 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
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	Bathroom217
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
217 
W/C


	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:MILANO                  

Art.: 5693             
ColorProvincial Gold / Golden Shadow         

	PRODUCT
SCHONBEK
	QTY
1 Pieces
	POWER
14x40W max E12

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 760 mm * H 910 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
217

W/C


	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model:                 

Art.: 2030         
ColorG12 VERMEILLE AND SAND          

	PRODUCT
SAVIO FERMINO 
	QTY
2 Pieces
	POWER


	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 120 mm * H 670 mm                           
[image: image46.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
217
W/C


	DESIGNATION/TYPE:
R 
Built In Lamp
	SUPPLIER

	MODEL /ART
Model:TRIMLESS                        

Art.: 5624   

Color                            

	PRODUCT
ASTRO
	QTY
6 Pieces

	POWER 

1x50W max GU10

	NOTES/ NOTES       
IP65  
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 75  mm * H 115  mm                           
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	Bedroom218
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
218

Bedroom

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: 22246/12               
Color          

	PRODUCT
G. MOSCATELLI
	QTY
1 Pieces
	POWER


	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 870 mm * H 1380 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
218

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
10 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
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	Dressing  219
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
219

Гардероб


	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorVerde rame        

	PRODUCT 
LAUDARTE
	QTY
6 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
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	Bathroom 220
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
220 
W/C


	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:                 

Art.: L 14294/8                   
Color DEC. CROMO

	PRODUCT
RENZO DEL VENTISETTE
	QTY
1 Pieces
	POWER
8x42W max E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 880 mm * H 600+ mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
220 
W/C


	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model:                 

Art.:A 14294/2          
ColorDEC. CROMO    

	PRODUCT
RENZO DEL VENTISETTE
	QTY
2 Pieces
	POWER
2x42W max E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 380 mm * H 320 mm * SP 200 mm                          
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
220
W/C


	DESIGNATION/TYPE:
R 
Built In Lamp
	SUPPLIER

	MODEL /ART
Model:TRIMLESS                        

Art.: 5624   

Color                            

	PRODUCT
ASTRO
	QTY
6 Pieces

	POWER 

1x50W max GU10

	NOTES/ NOTES       
IP65  
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 75  mm * H 115  mm                           
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	Bedroom221
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
221
Bedroom

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:VOLA                  

Art.: 32157                  
Colorlamp shade black          

	PRODUCT
ZONCA
	QTY
1 Pieces
	POWER
12x30W E27

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 980 mm * H 1060 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
221
Bedroom

	DESIGNATION/TYPE:
Т

Настольная 

лампа
	SUPPLIER

	MODEL /ART
Model:VOLA                  

Art.: 32151                 
Colorlamp shade black          

	PRODUCT
ZONCA
	QTY
1 Pieces
	POWER
1x30W E27

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 200 mm * H 410 mm                           
[image: image64.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
221

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorVerde rame        

	PRODUCT 
LAUDARTE
	QTY
10 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
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	Bedroom222
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
222 

Bedroom

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: 19971                       
Colorfinish: OA Antique Gold Plated           

	PRODUCT
MARINER
	QTY
1 Pieces
	POWER
12+6 E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1180 mm * H 1200 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
222

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
10 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
[image: image68.jpg]
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	Dressing 223

[image: image70.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
223

Гардероб

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
8 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
[image: image71.jpg]
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	Bathroom224

[image: image73.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
224 
W/C


	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:               

Art.: 949/8                  
Color          

	PRODUCT
SYLCOM
	QTY
1 Pieces
	POWER
8x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 790 mm * H 750 mm                           
[image: image74.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
224 
W/C


	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model:               

Art.: 949/A1                 
Color          

	PRODUCT
SYLCOM
	QTY
2 Pieces
	POWER
1x40W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 170 mm * H 280 mm * SP 250 mm                          
[image: image75.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
224
W/C


	DESIGNATION/TYPE:
R 
Built In Lamp
	SUPPLIER

	MODEL /ART
Model:TRIMLESS                        

Art.: 5624   

Color                            

	PRODUCT
ASTRO
	QTY
9 Pieces

	POWER 

1x50W max GU10

	NOTES/ NOTES       
IP65  
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 75  mm * H 115  mm                           
[image: image76.jpg]
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	Stair 225

[image: image79.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
225
Stair

	DESIGNATION/TYPE:
Р

Потолочный Lamp
	SUPPLIER 
	MODEL /ART
Model      

Art.:  8297/40M
Color         

	PRODUCT 
MARTINEZ Y ORTS


	QTY
1 Pieces

	POWER
 2x60 W

	NOTES/ NOTES                          

	

	TECHNICAL SCHEME/ DIMENSIONS:             D 380 mm * H 150 mm 
          [image: image80.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
225
Stair

	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: 7282/2                       
Color          

	PRODUCT
MARTINEZ Y ORTS
	QTY
6 Pieces
	POWER
2x40W

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 230 mm * H 240 mm * SP 120 mm                         
[image: image81.jpg]




	Circuious Gallery 226
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
226

Обходная 

Gallery

	DESIGNATION/TYPE:
S
Suspended Lamp
	SUPPLIER

	MODEL /ART
Model
Art.: 15.1356                      
Colorblue           

	PRODUCT
BANCI
	QTY
13 Pieces
	POWER
1x100W max E27

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 300 mm * H 970 mm                           
[image: image83.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
226

Обходная 

Gallery

	DESIGNATION/TYPE:
RW
Up Lighter
	SUPPLIER 
	MODEL /ART
Model:DORDI                        

Art.:  ls 93928 W 15

Color         

	PRODUCT 
I-LED PROFESSIONAL


	QTY
30 Pieces

	POWER
 1 LED 630mA 2W

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 70 mm * H 139 mm 
[image: image84.png]




	Massage Room 227

[image: image85.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
227

Massage Room 

	DESIGNATION/TYPE:
S
Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: BACH 5000                    
Color          

	PRODUCT
BEACON
	QTY
1 Pieces
	POWER


	NOTES/ NOTES
                

	TECHNICAL SCHEME/ DIMENSIONS:             D 2000 mm * H 2000 mm                           
[image: image86.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
227

Massage Room 

	DESIGNATION/TYPE:
S
Suspended Lamp
	SUPPLIER

	MODEL /ART
Model
Art.: BAIL 634                   
Color          

	PRODUCT
BEACON
	QTY
16 Pieces
	POWER


	NOTES/ NOTES
                

	TECHNICAL SCHEME/ DIMENSIONS:             D 400 mm * H 700 mm                           
[image: image87.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
227

Massage Room 

	DESIGNATION/TYPE:
R
Built In Lamp
Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.: DL7802 

Colorantique brass finish

	PRODUCT 
POSSONI
	QTY
32 Pieces

	POWER
1x50W max GU10

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H  mm 
[image: image88.jpg]




	W/C228

[image: image89.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
228

W/C

	DESIGNATION/TYPE:
A

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.:                       
Color          

	PRODUCT
BEACON
	QTY
2 Pieces
	POWER


	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D mm * H mm                           
[image: image90.jpg]BAW 3681-web. CLOSEX
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
228
W/C


	DESIGNATION/TYPE:
R 
Built In Lamp
	SUPPLIER

	MODEL /ART
Model:TRIMLESS                        

Art.: 5624   

Color                            

	PRODUCT
ASTRO
	QTY
4 Pieces

	POWER 

1x50W max GU10

	NOTES/ NOTES       
IP65  
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 75  mm * H 115  mm                           
[image: image91.jpg]
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	Hall 229

[image: image94.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
229

Hall

	DESIGNATION/TYPE:
Р

Потолочный Lamp
	SUPPLIER 
	MODEL /ART
Model      

Art.: BAIC 4994

Color         

	PRODUCT 
BEACON

	QTY1 Pieces

	POWER
 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 450 mm * H 300 mm 
[image: image95.jpg]




	Playing Room 231

[image: image96.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
231

Playing Room

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:GYRO CRYSTAL MEDIUM CHANDELIER                

Art.: T-GYO-LC-0007-U                   
Color          

	PRODUCT
TIMOTHY OULTON
	QTY
1 Pieces
	POWER


	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1130 mm * H 1150 mm                           
[image: image97.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
231 

Playing Room

	DESIGNATION/TYPE:
Шинная система Lampов
	SUPPLIER

	MODEL /ART
Model:PALCO                     

Art.: MJ97 04     

Color         

	PRODUCT
iGuzzini
	КОЛ-ВО:
16 Pieces
	POWER
1x29W 
3000k Warm white

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 122 mm * H 250 mm * L 214 mm 
[image: image98.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
231 

Playing Room

	DESIGNATION/TYPE:
Шинная система Lampов
	SUPPLIER

	MODEL /ART
Model:IDUO                     

Art.: 6652 12    

Color         

	PRODUCT
iGuzzini
	КОЛ-ВО:
2 Pieces
L 4800 mm X 1200 mm
	POWER
49W T16

	 NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             L 43 mm * H 71 mm  
[image: image99.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
231 

Playing Room

	DESIGNATION/TYPE:
R
Built In Lamp
Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.: DL7802 

Colorantique brass finish

	PRODUCT 
POSSONI
	QTY
34 Pieces

	POWER
1x50W max GU10

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H  mm 
[image: image100.jpg]




	Circuious Gallery232

[image: image101.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
232

Обходная 

Gallery

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:48 LIGHT OSLER REPRODUCTION                  

Art.: DESIGN № 3004                      
Color          

	PRODUCT
WILKINSON-PLC
	QTY
1 Pieces
	POWER
48 lamp

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 2000 mm * H 3000 mm                           
[image: image102.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
232

Обходная 

Gallery

	DESIGNATION/TYPE:
P
Потолочный Lamp
	SUPPLIER

	MODEL /ART
Model
Art.: 8579/50B                      
Color          

	PRODUCT
MARTINEZ Y ORTS
	QTY
12 Pieces
	POWER
4x40W

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 480 mm * H 580 mm                           
[image: image103.jpg]




	Gallery 233

[image: image104.jpg]L






	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
233

Gallery

	DESIGNATION/TYPE:
Р

Потолочный Lamp
	SUPPLIER 
	MODEL /ART
Model      

Art.:  8297/40M
Color         

	PRODUCT 
MARTINEZ Y ORTS


	QTY6 Pieces

	POWER
 2x60 W

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 380 mm * H 150 mm 
          [image: image105.jpg]




	Living Room 234

[image: image106.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
234

Living Room

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: L 14108/12                   
ColorDEC. 041          

	PRODUCT
RENZO DEL VENTISETTE
	QTY
1 Pieces
	POWER
12x42W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 800 mm * H 800 mm                           
[image: image107.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
234

Living Room

	DESIGNATION/TYPE:
A

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: A 14108/2                 
ColorDEC. 041          

	PRODUCT
RENZO DEL VENTISETTE
	QTY
2 Pieces
	POWER
2x42W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 300 mm * H 400 mm *SP 170 mm                          
[image: image108.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
234

Living Room

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
8 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
[image: image109.jpg]
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	Bedroom235

[image: image111.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
235

Bedroom

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:CLASSICA                  

Art.: 10363/S8+4                      
Color          

	PRODUCT
ZONCA
	QTY
1 Pieces
	POWER
12x30W E27

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 950 mm * H 1020 mm                           
[image: image112.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
235

Bedroom

	DESIGNATION/TYPE:
T 

Настольная 

лампа
	SUPPLIER

	MODEL /ART
Model:CLASSICA                  

Art.: 10366                      
Color          

	PRODUCT
ZONCA
	QTY
2 Pieces
	POWER
1x30W E27

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 220 mm * H 420 mm                           
[image: image113.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
235

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
12 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
[image: image114.jpg]
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	Dressing  236

[image: image116.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
236 

Гардероб

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
5 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
[image: image117.jpg]
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	Bathroom237

[image: image119.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
237

Ванная комната

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: art. 504                      
Color          

	PRODUCT
SILVANO GRIFONI
	QTY
1 Pieces
	POWER
6 lamps

	NOTES/ NOTES
IP44

	TECHNICAL SCHEME/ DIMENSIONS:             D 740 mm * H 820 mm                           
[image: image120.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
237

Ванная комната

	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: art. 1694                      
Colorart. 824 Ventola Lampshade         

	PRODUCT
SILVANO GRIFONI
	QTY
2 Pieces
	POWER


	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 350 mm * H 480 mm                           
[image: image121.jpg]




	Living Room 238

[image: image122.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
238

Living Room

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:CASCADES             

Art.: NO. 749040                 
Color          

	PRODUCT
FINE ART LAMPS
	QTY
1 Pieces
	POWER
10x60W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1320 mm * H 1350 mm                           
[image: image123.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
238

Living Room

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:CASCADES             

Art.: NO. 748740            
Color          

	PRODUCT
FINE ART LAMPS
	QTY
1 Pieces
	POWER
6x60W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 740 mm * H 810 mm                           
[image: image124.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
238

Living Room

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorVerde rame        

	PRODUCT 
LAUDARTE
	QTY
22 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
[image: image125.jpg]




	Bedroom239

[image: image126.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
239

Bedroom

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:CASCADES                  

Art.: NO. 748840                      
Color          

	PRODUCT
FINE ART LAMPS
	QTY
1 Pieces
	POWER
10x60W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 1070 mm * H 1070 mm                           
[image: image127.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
239

Bedroom

	DESIGNATION/TYPE:
T
Настольная 

лампа
	SUPPLIER

	MODEL /ART
Model:CASCADES                  

Art.: NO. 771910                      
Color          

	PRODUCT
FINE ART LAMPS
	QTY
2 Pieces
	POWER
1x60W E27

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 840 mm                           
[image: image128.jpg]




	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
239

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorVerde rame        

	PRODUCT 
LAUDARTE
	QTY
10 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
[image: image129.jpg]




	Dressing 240

[image: image130.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
240

Гардероб

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorVerde rame        

	PRODUCT 
LAUDARTE
	QTY
5 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
[image: image131.jpg]




	Bathroom241

[image: image132.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
241

Ванная комната

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: 1464/8              
ColorBL.CR          

	PRODUCT
SYLCOM
	QTY
1 Pieces
	POWER
8x40W  E14

	NOTES/ NOTES
              

	TECHNICAL SCHEME/ DIMENSIONS:             D 860 mm * H 780 mm                           
[image: image133.jpg]
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
241

Ванная комната

	DESIGNATION/TYPE:
A

Sconce
	SUPPLIER

	MODEL /ART
Model
Art.: 1463/A2                 
Color          

	PRODUCT
SYLCOM
	QTY
2 Pieces
	POWER
2x42W max E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 420 mm * H 490 mm * SP 300 mm                          
[image: image135.jpg]




	Living Room 242

[image: image136.jpg]





	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
242

Living Room

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model:BOUQUET                   

Art.: 32066                  
Color          

	PRODUCT
ZONCA
	QTY
1 Pieces
	POWER
12x30W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 950 mm * H 1100 mm                          
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32066
12 x E14 28W







	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
242

Living Room

	DESIGNATION/TYPE:
A

Sconce
	SUPPLIER

	MODEL /ART
Model:BOUQUET                   

Art.: 32063             
Color          

	PRODUCT
ZONCA
	QTY
2 Pieces
	POWER
3x30W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 370 mm * H 540 mm * SP 240 mm                      
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
242

Living Room

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
8 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
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	Bedroom243
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
243

Bedroom

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: 269/6                       
Color          

	PRODUCT
POSSONI
	QTY
1 Pieces
	POWER
6x42W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 840 mm * H 580 mm                           
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
243

Bedroom

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER

	MODEL /ART
Model
Art.: 269/LP           
Color          

	PRODUCT
POSSONI
	QTY
1 Pieces
	POWER
1x42W E14

	NOTES/ NOTES
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 300 mm * H 450 mm                          
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
243

Bedroom

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
12 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
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	Dressing 244
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
244
Гардероб

	DESIGNATION/TYPE:
R
Built In Lamp
	SUPPLIER 
	MODEL /ART
Model    

Art.:  FB40

ColorORO      

	PRODUCT 
LAUDARTE
	QTY
5 Pieces

	POWER
1x50W GU18 

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H 112 mm 
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	Bathroom 245
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
245

Ванная комната

	DESIGNATION/TYPE:
S

Chandelier
	SUPPLIER 
	MODEL /ART
Model:LILIUM                      

Art.: art. 675/8/59 
Color

	PRODUCT 
MANGANI
	QTY
1 Pieces

	POWER
8x60W max E14

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             D 720 mm * H 600 mm 
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	PLAN : LIGHTING
SHEET NO.

	DATE 20.10.2014
	OBEJECT
 USERADDRESS  \* FirstCap  \* MERGEFORMAT Residential Building, Jordan, г. Amman.

	BUILDING
245

Ванная комната

	DESIGNATION/TYPE:
А

Sconce
	SUPPLIER 
	MODEL /ART
Model    

Art.: 675/2/0 
Color

	PRODUCT 
MANGANI
	QTY
2 Pieces

	POWER
2x60W max E14

	NOTES/ NOTES                          

	TECHNICAL SCHEME/ DIMENSIONS:             L 300  mm * H 230 mm * SP 220 mm
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