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	Hall 301
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.

	BUILDING: 
301
Hall


	DESIGNATION/TYPE:

S
Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  A5-530/10+3     
Color:          

	PRODUCT: 
BADARI  LIGHTING

	QTY:
1 Pieces.

	POWER
13 x 40 W, E14 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 1080 mm * H 1050 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
301
Hall

	DESIGNATION/TYPE:

R
Встроенный

светильник
	SUPPLIER:


	MODEL/ART.:

MODEL:                   

ART.: DL7801                       
Color:           

	PRODUCT:

POSSONI
	QTY: 

8 Pieces.
	POWER
1x50W max GU10

	NOTES/NOTES:   
                  

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H mm                           
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
301
Hall


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.: A4-565/2
Color:          

	PRODUCT: 
BADARI  LIGHTING
	QTY: 
4 Pieces.

	POWER
2x40W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             L 290 mm * H 290 mm * SP 130 mm
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
301
Hall


	DESIGNATION/TYPE:

RW
Встроенный светильник в пол
	SUPPLIER: 
	MODEL/ART.:

MODEL: DORDI                        

ART.:  ls 93928 W 15
Color:          

	PRODUCT: 
I-LED PROFESSIONAL

	QTY: 
4 Pieces.

	POWER
 1 LED 630mA 2W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 70 mm * H 139 mm 
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	Bedroom 302
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
302 
Bedroom


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL: THISTLE                        

ART.:  
Color: Platinum          

	PRODUCT: 
SAINT - LOUIS


	QTY: 
1 Pieces.

	POWER 
18 lamp
 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 1143 mm * H 1549 mm 
                [image: image7.jpg]





	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
302 
Bedroom


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL: THISTLE                        

ART.:  
Color: Platinum          

	PRODUCT: 
SAINT - LOUIS


	QTY: 

4 Pieces.

	POWER 

3 lamp
 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             L 350 mm * H 350 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING:   

302 
Bedroom
 

	DESIGNATION/TYPE:

S
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.: 8418/45 
Color:          

	PRODUCT: 
MARTINEZ Y ORTS

	QTY:
4 Pieces.

	POWER
 6x40W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 450 mm * H 1190 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
302 
Bedroom


	DESIGNATION/TYPE:

P
Накладной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL: ZENITH                        

ART.:  617600+617910

Color: Chrome        

	PRODUCT: 
ESEDRA


	QTY: 
12 Pieces.

	POWER
1x75 W E27

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H 180 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
302 
Bedroom


	DESIGNATION/TYPE:

RW
Встроенный светильник в пол
	SUPPLIER: 
	MODEL/ART.:

MODEL: DORDI                        

ART.:  ls 93928 W 15
Color:          

	PRODUCT: 
I-LED PROFESSIONAL

	QTY:
2 Pieces.

	POWER
1 LED 630mA 2W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 70 mm * H 139 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
302 
Bedroom


	DESIGNATION/TYPE:

T
Настольная лампа
	SUPPLIER: 
	MODEL/ART.:

MODEL: John Richard 34'' Pleasant Paisley Lamp                        

ART.:  
Color:          

	PRODUCT: 

	QTY: 
2 Pieces.

	POWER
1x150W max

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 860 mm 
                  [image: image12.jpg]




	Bathroom304
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
304 
Ванная комната


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL: CADENCE                      

ART.: 5335 

Color: BLACK PEARL        

	PRODUCT: 
SCHONBEK
	QTY: 
1 Pieces.

	POWER
12x40W E12

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 840 mm * H 940 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
304 
Ванная комната


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL: RIVENDELL                     

ART.: 7855

Color:          

	PRODUCT: 
SCHONBEK
	QTY: 
2 Pieces.

	POWER
2x40W E12

	NOTES/NOTES:   
                   

	TECHNICAL SCHEME/ DIMENSIONS:             D 300  mm * H 250 mm * SP 140 mm
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
304 
Ванная комната


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  CHARLOTTE P1

Color:          

	PRODUCT: 
DE MAJO


	QTY: 
8 Pieces.

	POWER
1x60W G9

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 100  mm * H 135 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
304 
Ванная комната


	DESIGNATION/TYPE:

P

Плафон
	SUPPLIER: 
	MODEL/ART.:

MODEL: TIARA                        

ART.: 9800 
Color:          

	PRODUCT: 
SCHONBEK

	QTY: 
1 Pieces.

	POWER
3x40W max E12

	NOTES/NOTES:       

	TECHNICAL SCHEME/ DIMENSIONS:             D 300  mm * H 140 mm 
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	Dressing Room 305

[image: image18.jpg]





	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
305 
Dressing Room


	DESIGNATION/TYPE:

P

Плафон
	SUPPLIER: 
	MODEL/ART.:

MODEL:     HINKLEY                    

ART.:  HK/4102PL
Color:          

	PRODUCT: 
ELSTEAD

	QTY: 
2 Pieces.

	POWER
2x60W E27

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 305  mm * H 203 mm 
[image: image19.jpg]




	Dressing Room 306
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
306 
Dressing Room


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL: FLEMISH                         

ART.:  FL/235/8+4/P(GS/748/CL)
Color:          

	PRODUCT: 
CHELSOM

	QTY: 
1 Pieces.

	POWER
12x60 W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 760  mm * H 700 mm 
       [image: image21.jpg]





	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
306 
Dressing Room


	DESIGNATION/TYPE:

P
Накладной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL: ZENITH                        

ART.:  617600+617910
Color: Metalized beige        

	PRODUCT: 
ESEDRA

	QTY: 
20 Pieces.

	POWER
1x75 W, E27

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H 180 mm 
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	Small Gallery307
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
307 
Small Gallery


	DESIGNATION/TYPE:

P

Плафон
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  8297/40M
Color:          

	PRODUCT: 
MARTINEZ Y ORTS


	QTY: 
6 Pieces.

	POWER
2x60W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 380 mm * H 150 mm 
          [image: image24.jpg]




	Stair308[image: image25.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
308 
Stair



	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL:  JUBILEE                       

ART.:  2673
Color:          

	PRODUCT: 
SCHONBEK
	QTY:
6 Pieces.

	POWER
4x40W max E12 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 280  mm * H 380  mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
308 
Лестничный Hall


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL: JUBILEE                        

ART.:  2667
Color:          

	PRODUCT: 
SCHONBEK
	QTY:
1 Pieces.

	POWER
57x40W max E12 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 710 mm * H 1780  mm 
[image: image27.jpg]




	Kitchen 309
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
309 
Kitchen


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  Mod. 1075
Color:          

	PRODUCT: 
LUMI
	QTY: 
1 Pieces.

	POWER
6x40W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 620 mm * H 670 mm 
[image: image29.jpg]www.lumi.it

Mod. 1075

Lampadario a sei fiamme, stile 700
inglese, in ottone dorato in oro fino
patinato antico.

Six-bulb chandelier, XVIII Century
English style, made of patinated fine
gold-plated brass.

h. (height) cm. 67
@ cm. 62
6.E 14

Design: Mario Vallini

53





	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
309 
Kitchen


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  3880/1
Color:   D-67       

	PRODUCT: 
MARTINEZ Y ORTS
	QTY: 
8 Pieces.

	POWER
1x50W Gu 5.3

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 142 mm * H 20 mm 
[image: image30.jpg]




	Library 310
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310 
Library


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:   PASTICHE                      

ART.:  NO. 427640
Color:          

	PRODUCT: 
FINE ART LAMPS
	QTY: 1 Pieces.

	POWER
15x60 W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 1397 mm * H 1626 mm 
            [image: image32.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310 
Library


	DESIGNATION/TYPE:

S
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:   WINTER PALACE                      

ART.:  NO. 308840
Color:          

	PRODUCT: 
FINE ART LAMPS
	QTY: 4 Pieces.

	POWER
3x60 W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 762 mm * H 178 mm 
[image: image33.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310 
Library


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  FB40
Color: Verde rame        

	PRODUCT: 
LAUDARTE
	QTY: 16 Pieces.

	POWER
1x50W GU18 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 125  mm * H  mm 
[image: image34.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310
 Library


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL: WINTER PALACE                      

ART.:  NO. 323550
Color:          

	PRODUCT: 
FINE ART LAMPS
	QTY: 
4 Pieces.

	POWER
2x60 W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 356 mm * H 686 mm * SP 102

[image: image35.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310
Library


	DESIGNATION/TYPE:

RW
Встроенный светильник в пол
	SUPPLIER: 
	MODEL/ART.:

MODEL:  DORDI                     

ART.:  ls 93928 W 15
Color:          

	PRODUCT: 
I-LED PROFESSIONAL
	QTY:
4 Pieces.

	POWER
1 LED 630mA 2W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 70 mm * H 139 mm 
[image: image36.png]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310 
Library


	DESIGNATION/TYPE:

T
Настольная лампа
	SUPPLIER: 
	MODEL/ART.:

MODEL:   WINTER PALACE                    

ART.:  NO. 301610
Color:          

	PRODUCT: 
FINE ART LAMPS


	QTY: 
2 Pieces.

	POWER
1x150 W max  

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 838  mm 
[image: image37.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310 
Library


	DESIGNATION/TYPE:

T
Настольная лампа
	SUPPLIER: 
	MODEL/ART.:

MODEL: PASTICHE                      

ART.:  NO. 408810
Color:          

	PRODUCT: 
FINE ART LAMPS

	QTY: 
2 Pieces.

	POWER
1x100 W max

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 762  mm 
[image: image38.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310 
Library


	DESIGNATION/TYPE:

T

Торшер
	SUPPLIER: 
	MODEL/ART.:

MODEL:    Carolyn Kinder                   
ART.:  28871
Color:          

	PRODUCT: 
UTTERMOST
	QTY: 
2 Pieces.

	POWER
1x150 W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  711 mm * H 1778 mm 
[image: image39.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
310
Library


	DESIGNATION/TYPE:

T

Торшер
	SUPPLIER: 
	MODEL/ART.:

MODEL: A MIDSUMMER NIGHT’S DREAM                      

ART.: NO. 225920  
Color:          

	PRODUCT: 

FINE ART LAMPS

	QTY: 
2 Pieces.

	POWER
1x150W max

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 1702  mm 
[image: image40.jpg]




	Cabinet 311
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
311 
Cabinet


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:   ESPRIT                    

ART.:  959.00
Color: Crystal/yellow amber         

	PRODUCT: 
VENINI
	QTY: 
1 Pieces.

	POWER
25x40W max E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 600  mm * H  600 mm 
[image: image42.jpg]
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
311 
Cabinet


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:FB DT-610  
Color:          

	PRODUCT: 
LAUDARTE
	QTY: 
10 Pieces.

	POWER
1x20W G4 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 140  mm * H 58  mm 
[image: image44.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
311
Cabinet


	DESIGNATION/TYPE:

T
Настольная лампа
	SUPPLIER: 
	MODEL/ART.:

MODEL:  PACO DOMINGUEZ                     

ART.:  187
Color:          

	PRODUCT: 
TOMAS&SAEZ
	QTY: 1 Pieces.

	POWER
 1x75 W max E27

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 240 mm 
[image: image45.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
311 
Cabinet


	DESIGNATION/TYPE:

T

Торшер
	SUPPLIER: 
	MODEL/ART.:

MODEL:  L’illuminazione                     

ART.:  PD14/1
Color:          

	PRODUCT: 
ARTE VENEZIANA
	QTY: 
1 Pieces.

	POWER
 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 400  mm * H 1700 mm 
[image: image46.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
312 
Photocopier


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  3002/F1
Color:          

	PRODUCT: 
ITALAMP
	QTY: 
2 Pieces.

	POWER
 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 150 mm * H 30+70 mm 
[image: image47.jpg]




	WC313
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
313 
С/у


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  PUCCINI S6
Color:  RO        

	PRODUCT: 
LA MURRINA
	QTY: 
1 Pieces.

	POWER
 8x40W max E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 970 mm * H 970+700  mm 
[image: image49.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
313 
С/у


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  1475/A3
Color:          

	PRODUCT: 
SYLCOM
	QTY: 
2 Pieces.

	POWER
 3x40W E14

	NOTES/NOTES:         

	TECHNICAL SCHEME/ DIMENSIONS:             D 600 mm * H 600  mm * SP 400
[image: image50.jpg]




	WC313а

[image: image51.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
313а  
С/у


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:    AGADIR                   

ART.:  5384/08
Color:          

	PRODUCT: 
BAROVIER & TOSO
	QTY: 
1 Pieces.

	POWER
 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 850 mm * H 770 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
313а  
С/у


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.: 72/APG 
Color:          

	PRODUCT: 
ITALAMP
	QTY: 
2 Pieces.

	POWER
 

	NOTES/NOTES:         

	TECHNICAL SCHEME/ DIMENSIONS:             D 380  mm * H 340  mm 
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	Small Gallery314
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
314 
Малая галерея


	DESIGNATION/TYPE:

P

Плафон
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  8297/40M
Color:          

	PRODUCT: 
MARTINEZ Y ORTS

	QTY:
6 Pieces.

	POWER
2x60W

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 380 mm * H 150 mm 
        [image: image55.jpg]




	Dressing Room 315
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
315 
Dressing Room


	DESIGNATION/TYPE:

P

Плафон
	SUPPLIER: 
	MODEL/ART.:

MODEL:  HINKLEY                     

ART.:  HK/4102PL
Color:          

	PRODUCT: 
ELSTEAD
	QTY: 
2 Pieces.

	POWER
2x60W E27 

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 305  mm * H 203  mm 
[image: image57.jpg]




	Dressing Room 316
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
316 
Dressing Room


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL: FLEMISH                         

ART.:  FL/235/8+4/P(GS/748/CL)

Color:          

	PRODUCT: 
CHELSOM
	QTY: 
1 Pieces.

	POWER
12x60W E14

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 760  mm * H 700 mm 
       [image: image59.jpg]





	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
316 
Dressing Room


	DESIGNATION/TYPE:

P
Накладной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:  ZENITH                     

ART.:  617600+617910
Color: Metalized beige         

	PRODUCT: 
ESEDRA
	QTY: 
20 Pieces.

	POWER
 1x75W E27

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D 100 mm * H 180 mm 
[image: image60.jpg]




	Bathroom317[image: image61.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
317 
Ванная комната

	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:  RENAISSANCE ROCK CRYSTAL                     

ART.:  3572
Color: Heirloom Gold         

	PRODUCT: 
SCHONBEK
	QTY: 
1 Pieces.

	POWER
12x40W max E12

	NOTES/NOTES:          
Наполнение камней (кристаллов) такое же, как на кARTинке (подвесной светильник) 3584 (след. лист)                    

	TECHNICAL SCHEME/ DIMENSIONS:             D 810 mm * H 1020 mm 
[image: image62.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
317 
Ванная комната


	DESIGNATION/TYPE:

P
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL: RENAISSANCE ROCK CRYSTAL    

ART.: 3584 


Color: Heirloom Gold                 

	PRODUCT: 
SCHONBEK
	QTY: 
1 Pieces.

	POWER
6x40W E14

	NOTES/NOTES:             


	TECHNICAL SCHEME/ DIMENSIONS:             D 510 mm * H 410 mm 
[image: image63.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
317 
Ванная комната


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  FB 32
Color:          

	PRODUCT: 
LAUDARTE
	QTY: 
8 Pieces.

	POWER
1x60W E27

	NOTES/NOTES:          


	TECHNICAL SCHEME/ DIMENSIONS:             D 150 mm * H  mm 
[image: image64.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
317 
Ванная комната


	DESIGNATION/TYPE:

A

Sconce
	SUPPLIER: 
	MODEL/ART.:

MODEL: MOSAICO                      

ART.:  M.T. TRILLUM
Color:  FINITURE PALLADIUM        

	PRODUCT: 
LAUDARTE
	QTY: 
2 Pieces.

	POWER
1x60W E14

	NOTES/NOTES:                        

	TECHNICAL SCHEME/ DIMENSIONS:             D 270 mm * H 145 mm 
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	Winter Garden318
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
318 
Зимний сад


	DESIGNATION/TYPE:

S

Chandelier
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  NO. 427940
Color:          

	PRODUCT: 
FINE ART LAMPS
	QTY: 
1 Pieces.

	POWER
15x60W E14

	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D  1524 mm * H 1321 mm 
[image: image67.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
318 
Зимний сад


	DESIGNATION/TYPE:

P
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.: CL96/XS/N  
Color:          

	PRODUCT: 
VAUGHAN
	QTY: 
4 Pieces.

	POWER
4 Лампы

	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D 275 mm * H 545 mm 
[image: image68.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
318 
Зимний сад


	DESIGNATION/TYPE:

T

Торшер
	SUPPLIER: 
	MODEL/ART.:

MODEL:  John Richard 67H Antique Brown Scroll Leaf Floor Lamp                     

ART.:  
Color:          

	PRODUCT: 
JOHN RICHARD
	QTY: 
2 Pieces.

	POWER
 

	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H 1702 mm 
[image: image69.jpg]




	Studio319
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
319
Детская Workshop


	DESIGNATION/TYPE:

S
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  

Color:          

	PRODUCT: 
TOM DIXON
	QTY:  
1х6 Pieces.

	POWER


	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D mm * mm 
[image: image71.jpg]
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
319 
Детская Workshop


	DESIGNATION/TYPE:

S
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL: BLOW                      

ART.: L 7932.40 
Color:          

	PRODUCT: 
PANZERI
	QTY: 
8 Pieces.

	POWER
1x150W max E27

	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D 390  mm * H 180 mm 
[image: image74.jpg]




	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
319 
Детская Workshop


	DESIGNATION/TYPE:

T

Торшер
	SUPPLIER: 
	MODEL/ART.:

MODEL:                       

ART.:  

Color:          

	PRODUCT: 
SCANDAL
	QTY:  

	POWER


	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D mm * H mm 
[image: image75.jpg]





	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
319 
Детская Workshop


	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER:
	MODEL/ART.:

MODEL:                       

ART.:  545-11305

Color:          

	PRODUCT: 
MOLTE LUCE
	QTY: 

6 Pieces.
	POWER
1x CDM-R111 70W GX8,5

	NOTES/NOTES:    
Врезное отверстие 282х282 мм         

	TECHNICAL SCHEME/ DIMENSIONS:             D 145 mm * H 170 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
320 
Workshop


	DESIGNATION/TYPE:

S
Подвесной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL: BLOW                      

ART.: L 7932.40 
Color:          

	PRODUCT: 
PANZERI
	QTY: 
10 Pieces.

	POWER
1x150W max E27

	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D 390  mm * H 180 mm 
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	Workshop 320
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
320 
Workshop


	DESIGNATION/TYPE:

P
Накладной светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL: SPOKE                      

ART.:  A1/P1 E27
Color:          

	PRODUCT: 
DE MAJO
	QTY:  
6 Pieces.

	POWER
1x75W E27

	NOTES/NOTES:             

	TECHNICAL SCHEME/ DIMENSIONS:             D 170 mm * H 265  mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
320 
Workshop

	DESIGNATION/TYPE:

T

Торшер
	SUPPLIER: 
	MODEL/ART.:

MODEL:   TANGRAM TERRA
ART.: Cod. 101
Color:          

	PRODUCT: 
LUMINA
	QTY: 
1 Pieces.

	POWER
1x100W max E27

	NOTES/NOTES:                             

	TECHNICAL SCHEME/ DIMENSIONS:             D  mm * H  mm 
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	Stair322
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 
321-322
Лестничный Hall
(с лифтом)

	DESIGNATION/TYPE:

R
Встроенный светильник
	SUPPLIER: 
	MODEL/ART.:

MODEL:                         

ART.:  3872/1
Color:  D-58        

	PRODUCT: 
MARINEZ Y ORTS
	QTY: 

6 Pieces.

	POWER
1x50W  Gx5.3

	NOTES/NOTES:   


	TECHNICAL SCHEME/ DIMENSIONS:             D 90  mm * H 80 mm 
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	PLAN: LIGHTING
SHEET NO.

	DATE:04.06.2014
	OBJECT:  USERADDRESS  \* FirstCap  \* MERGEFORMAT  

Residential Building, Jordan, г. Amman.


	BUILDING: 

321-322 
Лестничный Hall
(с лифтом)

	DESIGNATION/TYPE:

А

Sconce
	SUPPLIER:


	MODEL/ART.:

MODEL:                   

ART.: 7282/2                       
Color:           

	PRODUCT:

MARTINEZ Y ORTS
	QTY: 
12 Pieces.
	POWER
2x40W

	NOTES/NOTES:   
                  

	TECHNICAL SCHEME/ DIMENSIONS:             L 230 mm * H 240 mm * SP 120                          
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